Home Automation System/2

Version 0.9 Beta 1

COPYRIGHT (c) 1997, Dennis Caffi

The Home Automation System/2 allows you to set up the CP290 X-10 Home Control

Interface. This program is a PM based application.  This is a beta release of the

software. Feel free to distribute this program to anyone or any site that you feel might

find this program useful.

Installation:

The following files make up the Home Automation System/2:

home.exe

home.log

home.ico

home.ini

You can copy these files to the directory of your choice.  Open the settings

notebook for the program icon and make sure the Program tab path and file

name are set to where you moved the program files.

Using Home Automation System/2:

When you first start the program, you should set the base house code and

communications port.The base house code will allow you to control the modules

with the same house code from the rocker switches on the cp290 control unit.

The program will save these settings in the "home.ini" file.

A log file by the name "home.log" is created in the current directory each

time you start the program.  This file contains the entries that appear in the

program window.

Please be patient when querying settings or setting timer events.  The cp290

communicates at only 600 baud.  Download time for the events increases with

the number of events that are set.

Menu items:

File

Exit - exit program.

Settings

Set Basecode - Set the base house code and the communications port.

These values are stored in the home.ini file so you only

need to set this once unless you need to change the

base house code. The new values will replace what is in the

home.ini file.

Set Clock - Sets the clock in the cp290 control interface using the PC time.

Product Information - displays information about the product.

Query

Time - gets the time from the cp290 control interface.

Events - Lists all 128 events stored in the cp290 control interface.

Actions

Direct - Used to turn on, off, or dim a single module.

Events - Used to set timer events.  The dialog sets one event at a time with

input obtained from spin buttons in the event dialog.

Questions / Comments:

If you have any questions, comments, or suggestions about this program,

feel free to drop me a note. My e-mail address is caffi@ibm.net.